Risk Assessment

CEFN LEA PARK LTD

Chalets 15-18
Hazards

Electrical equipment, Cooking appliances. There are no hazardous substances kept in these buildings.

People at risk

Staff, public (customers) and visitors

Evaluate, remove, reduce and protect from risk

There is low risk of fire occurring. Risk to people is low as there are fire exits at both ends of the building, 1 in each kitchen, 1 in each lounge and 1 in every bedroom. There are signs instructing what to do in event of fire on the back of every bedroom door. There is a Type M fire alarm system fitted with smoke detector and sounder fitted in each lounge and bedroom and heat detector and sounder in each kitchen. There are also brake glasses on each main exit. There is a water extinguisher in each lounge and a powder extinguisher and fire blanket in every kitchen which is inspected annually.

Record, Plan, Inform, Instruct and train 

Logbooks are kept in the main office for recording all relevant information and action taken. Training is given to all new staff. A copy of instruction to staff is attached.

Review

A Review of our risk assessment is carried out when any relevant changes to the business are made and every 2 years otherwise


Staff procedure in case of fire
- Sound the alarm.

- Ask all customers and visitors to leave the building immediately.

- If possible tackle the fire using the appliances provided but do not take risks.

- Leave the building closing all doors behind you and assemble out side the building in the car park.

- Phone 999 to call Fire Brigade.
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