Risk Assessment

CEFN LEA PARK LTD

Leisure Homes 1-19

Hazards

Electrical equipment, Cooking appliances, Gas Fire. There are no hazardous substances kept in these buildings.

People at risk

Staff, public (customers) and visitors

Evaluate, remove, reduce and protect from risk

There is low risk of fire occurring. Risk to people is low as there is a fire exit at both ends of the caravan. There are signs instructing what to do in event of fire on the back of every bedroom door. There is a smoke detector in the lounge, which is tested on a regular basis. There is a powder extinguisher and fire blanket in the kitchen which is tested annually.

Record, Plan, Inform, Instruct and train 

Logbooks are kept in the main office for recording all relevant information and action taken. Training is given to all new staff. A copy of instruction to staff is attached.

Review

A Review of our risk assessment is carried out when any relevant changes to the business are made and every 2 years otherwise

Staff procedure in case of fire

- Sound the alarm.

- Ask all customers and visitors to leave the building immediately.

- If possible tackle the fire using the appliances provided but do not take risks.

- Leave the building closing all doors behind you and assemble out side the building in the car park.

- Phone 999 to call Fire Brigade.
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